## Bidder Q&A
Austin Energy Renewable and Carbon Free RFP - April 19, 2024
ID # | Document Reference | Subject | Question | Owner Response
1 | RFP Section 3-B4 | 8760 hourly profile; local congestion study | Can you please provide direction on which 4. Generating Resource Details sections are required for standalone BESS? e.g., do we need to provide (c.) an expected hourly output profile or a (d.) congestion study, etc.? | The 8760 hourly profile and local congestion study are not expected for standalone BESS.
2 |  | Battery duration | Does Austin Energy have any design or operational preferences for standalone storage projects, such as hours of duration (e.g., 2, 4, etc.), preferred suppliers, number of daily cycles, etc.? | Austn Energy will evaluate all proposals and we are seeking the best overall value and portfolio fit for our customers.
3 |  | Battery duration | What is the preferred duration for storage projects – a 2-hour or 4-hour duration? | Austn Energy will evaluate all proposals and we are seeking the best overall value and portfolio fit for our customers.
4 |  | Battery duration | Does Austin Energy have interest for battery duration longer than 2 hours? If so, what duration(s) would you like offered? | Austn Energy will evaluate all proposals and we are seeking the best overall value and portfolio fit for our customers.
5 |  | Busbar & PODs | Can AE provide a list of the acceptable in-system busbars and ERCOT PODs where they’ll accept power in the solicitation? | We are seeking the best overall value for Austin Energy and its customers.
6 |  | COD | Is there a preference for earlier CODs? | AE has the 2027 renewable goal but will evaluate all CODs based on value and portfolio fit.
7 |  | COD | What is the preferred COD for submitted projects? | AE has the 2027 renewable goal but will evaluate all CODs based on value and portfolio fit.
8 |  | COD | What CODs are you accepting? | AE has the 2027 renewable goal but will evaluate all CODs based on value and portfolio fit.
9 |  | COD | Is there a preferred project COD for this RFP? | AE has the 2027 renewable goal but will evaluate all CODs based on value and portfolio fit.
10 |  | COD | While there is no project COD requirement listed in the RFP, does Austin Energy have any COD preference? | AE has the 2027 renewable goal but will evaluate all CODs based on value and portfolio fit.
11 |  | Connection | Does Austin Energy have preference for storage connected at the distribution or transmission level? | Austin Energy will evaluate all proposals and is seeking the best overall value fo its customers.
12 |  | Energy capacity | For a Battery Storage Project Tolling Agreement, does Austin Energy have a preference to maintain energy capacity at 100% for the term of the contract? | Austin Energy will evaluate all offers and select the projects with best value and capabilities.
13 |  | Equipment suppliers | Does Austin Energy have preferences or aversion to certain equipment suppliers? | Per ERCOT NPRR 1199, Market Participants must report to ERCOT the purchase of any critical electric grid equipment or service from an LSIPA Designated Company (Currently: Iran, Russia, North Korea, or China). There could be an impact if the product or services were from a LSIPA country and the equipment is accessible by remote connectivity, as installed. NPRR1199 was approved by ERCOT on became effective on 5/1/2024. As a market participant, AE is subject to ERCOT's rule.
14 |  | General | If we are bidding 2 projects, does AE want 2 separate proposals, or can bidder include project-specifics into one proposal? | Separate proposals are preferred for multiple projects.
15 |  | General | If we are bidding multiple tenors, does AE want separate proposals for each variation, or should bidder just notate the different tenors and price within one proposal? What about the Term Sheet? Can we use brackets for multiple tenors, or does AE want separate term sheets/proposals? | You can notate one proposal or Term Sheet for multiple tenors for the same project.
16 |  | General | Do we need a lease Option and/or queue position to be considered? | Austin Energy is seeking the best overall value with no specific requirements on the lease Option and/or queue position.
17 | RFP page 7 | General | We would like to get clarity on how the following statement from the RFP Document, Page 7, is defined: “All proposals must include a statement that they are valid for a minimum period of one hundred twenty (120) days following the RFP response deadline.” Would validity include the entire proposal, or the pricing that is presented in the proposal? | That will be the entire proposal.
18 |  | General | Are escalating offers accepted? | Yes. Austin Energy will evaluate all offers.
19 |  | General | I am reaching out regarding the RFP due on June 7th for Austin Energy. Will proposals including upside sharing be accepted? | We are interested in any proposals with the best overall value.
20 |  | General | Does Austin Energy have a preference for shape or fixed MW product? | Austin Energy will evaluate all proposals and is seeking the best overall value for its customers
21 |  | General | Does Austin Energy look for Renewable plus Storage offers? | Austin Energy will evaluate all proposals and is seeking the best overall value for its customers
22 |  | General | For a Battery Storage Project Tolling Agreement, does Austin Energy have an expected number of cycles per year, or should bidders offer what is most economic? | Austin Energy will evaluate all proposals and select the projects with best value and capabilities.
23 |  | Interconnection | Can AE provide additional details on the site control and interconnection status requirements for the RFP? | Austin Energy will look to the developer to manage site control and interconnection status for their project.
24 |  | Location | Does Austin Energy have a locational preference for battery storage projects? | Austin Energy will evaluate all proposals and is seeking the best overall value for its customers
25 |  | Location | Do you prefer a project to be located in Austin Energy’s service territory? | Projects within Austin Energy load zone provide benefit of mitigating congestion risk. But we will evaluate all proposals with all technologies and all locations, and select projects with the the best overall value.
26 |  | Location | Do you have a preference for projects located within or beyond the Austin Energy load zone? | Projects within Austin Energy load zone provide benefit of mitigating congestion risk. But we will evaluate all proposals with all technologies and all locations, and select projects with the the best overall value.
27 |  | NDA | Is Austin Energy willing to sign a mutual NDA prior to submission into the RFP? | Austin energy prefers not to sign a mutual NDA prior submission. But for information confidentiality please refer to Section 3A of the RFP.
28 |  | New or existing | Can you please confirm that Austin Energy is open to offers from either new or existing standalone battery energy storage facilities? | Yes.
29 |  | NOI | Is there a notice of intent we need to submit? | No.
30 |  | Ownership | Is Austin Energy interested in ownership of projects through BTA? | Austin Energy will evaluate all proposals and is seeking the best overall value for its customers, including BTA.
31 |  | Performance Security | Are you able to provide a dollar amount range of the required Performance Security that would be listed in the Tolling Agreement? This would help us model the project appropriately. | Price proposals based on default $150 per KW which may or may not be adjusted during the contract negotiation
32 |  | PODs | Does AE prefer PODs in their network Vs ERCOT PODs? | Austin Energy is seeking the best overall value. PODs within AE load zone provide benefit of mitigating congestion risk.
33 |  | Resource type | Will you accept natural gas fired generation with ~90% backend carbon capture in this process? | We are interested in any and all other technologies that may be available.
34 |  | Resource type | For clarity, we’d like to offer “blue” power from a gas-fired facility in ERCOT that includes a carbon capture and sequestration project that will remove 95% of CO2. Is that type of power eligible for this RFP? | Austin Energy will evaluate all proposals and is interested to learn more about this opportunity.
35 |  | Security amount | Is there a preference for required security amount? | Price proposals based on default $150 per KW which may or may not be adjusted during the contract negotiation
36 |  | Size | Is there a minimum size requirement for the projects? | Austin energy will evaluate all terms & sizes and select the projects with best value and capabilities.
37 |  | storage duration | What storage duration is of interest? | Austin Energy will evaluate all proposals and is seeking the best overall value for its customers
38 |  | Storage terms | Does Austin Energy have preference for standalone storage terms? | Austin Energy will evaluate all proposals and is seeking the best overall value for its customers
39 |  | Target | Does Austin Energy have a specific target for storage procurement? | No specific target.
40 |  | Tax-exemption | Is Austin Energy a tax-exempt organization? If so, are you able to provide a sales tax-exemption certificate? | Yes, Austin Energy is a tax-exempt organization. We can provide it based on request.
41 | RFP 2B & 2D | Technology | Would Austin Energy consider a long duration energy storage proposal which excludes Lithium - Ion technology, provided it complies with Sections 2. B. and 2 D? | Yes. Austin Energy will consider all types of technologies.
42 |  | Technology | Is it a requirement that the Firm Renewable storage proposals are based on battery technologies, or will you consider other technologies such as adiabatic compressed air energy storage ("ACAES" -uses no hydrocarbon as fuel, and emits no CO2 (zero) in this process)? | It is not a requirement, we are interested in any and all other technologies that may be available.
43 |  | Term | Additionally, would Austin Energy be interested in short-term deals (e.g., 5 years) involving existing operational wind projects in ERCOT? | We are interested in any term with the best overall value.
44 |  | Timeline | Could you provide an expected timeline or approximate dates for shortlisting, contract execution, and notice to proceed for projects selected in this RFP? | Depending on the number of projects proposed, the evaluation to determine a short list may take up to 6 weeks. Timelines vary, but once a short list is determined and a finalist selected (6 weeks +/-), we will negotiate PPA(s) (4 weeks +/-), then seek advisory board and Austin City Council approval (4 weeks +/-).
45 |  | Timeline | What are the procurement timelines for shortlist, PPA execution and board approvals?
46 |  | Tolling Agreement | Do you have a Pro Forma Term Sheet or Tolling Agreement available? | No, they are not available at this time.
47 |  | Tolling agreement tenor | Considering AE is open to a long tenure range from 7-30 years, does AE have preferences for BESS tolling agreement tenor? | No specific preference. AE will evaluate all terms and select the projects with best value and capabilities.
48 |  | WSA | Do we need to sign the WSA for the bid, or only if selected? | You don't need to sign the WSA for the bid. You will provide a detailed plan on how to implement the WSA Program and agree to sign when selected.
49 |  | Zone | For project delivery, what zones are acceptable in ERCOT for project submissions into this RFP? Will you accept West Hub zone? | We will consider all locations with the best overall value for Austin Energy.